## Spread
PROJECT: |  | BID DATE: |  | ESTIMATE: |  | 8621853.801 | Over/Under Budget
| Hoover Place Needs Assessment |  |  |  | Budget | 0 | 8621853.801
|  | ESTIMATOR |  | jab | SF | 154400 | 55.841
Needs Assessment or Drawings
Item # | DESCRIPTION | [5 empty] | Notes
Site |  |  |  |  | 0
1 | R&R Trash Enclosure |  |  |  |  | 31300 |  | NA
| Demoltion |  | 380 | sf | 1900
| Footings |  | 87 | lf | 4350
| New Split-face Block |  | 522 | sf | 13050
| Gates |  | 4 | ea | 12000
2 | Reconfigure HC Striping and caulk joint |  |  |  | 3000 | 3000 |  | NA
3 | Clear Storm Drains |  | 85 | ea | 8500 | 8500 |  | NA
4 | Sanitary Line Repair Allowance |  | 1 | ls | 20000 | 20000 |  | NA
5 | Clean Catchbasins |  | 5 | ea | 6250 | 6250 |  | NA
6 | Clean Yard Catch Basins |  | inc above |  | 0 | 2500 |  | NA
| Regrade |  | 5 | ea | 2500
7 | R&R Entry Slab - Size assumed 680 sf |  |  |  |  | 10200 |  | NA
| Demolition |  | 680 | sf | 3400
| Regrade |  | 680 | sf | 1360
| F/P/F new Slab |  | 680 | sf | 5440
8 | R&R Concrete Walk |  |  |  |  | 5780 |  | DWG
| Demolition |  | 340 | sf | 1700
| Regrade |  | 340 | sf | 680
| F/P/F new Sidewalk |  | 340 | sf | 3400
9 | Grind Existing Sidewalk where trip hazzards occur |  | 60 | lf | 900 | 900 | Allowance per notes | NA
10 | R&R crack/uneven sidewalks |  |  |  |  | 3000 |  | NA
| Demolition |  | 200 | sf | 1000 |  | Allownance per drawings
| F/P/F new Sidewalk |  | 200 | sf | 2000
11 | Prune existing trees |  | 46 | ea | 11500 | 11500 |  | NA
12 | Repair Landscaping - Allowance |  | 1 | ls | 15000 | 15000 | Allowance | NA
13 | Regrade foundation away from building |  | 45000 | sf | 45000 | 45000 |  | NA
14 | Extend existing downspouts |  | 85 | ea | 21250 | 21250 | 85 ea | NA
15 | Add 18" perimeter Gravel at Foundation |  | 3265 | sf | 19590 | 19590 |  | NA
16 | R&R Benches |  | 10 | ea | 18000 | 18000 | Assumed 10 - None Shown | NA
17 | New Pavillion and Trellis |  | 1 | ls | 25000 | 25000 | Allowance - Not Identified on drawings | NA
18 | New Flagpole |  | 1 | ea | 4000 | 4000 |  | NA
19 | New Site Lighting Posts & fixtures |  | 4 | ea | 10000 | 10000 | Assume 4 | NA
20 | Security Cameras |  | 1 | ls | 25000 | 25000 | Allowance | NA
21 | New Metal Loading Dock railing |  | 50 | lf | 6250 | 6250 | Dwgs say paint | NA
22 | R&R existing Aluminum Fence |  | 220 | lf | 38500 | 38500 | Dwgs say ETR | NA
Building Exterior
1 | R&R 20% of Roof Shingles 140 squares |  | 140 | sq | 42000 | 91000 | Patched shingles will show | NA
| R&R Sheathing - 20% Allowance |  | 14000 | sf | 49000 |  | Assume same area | NA
2 | R&R 10% ofAlum Fascia wraps/Gutters/Downspouts |  | 500 | lf | 6000 | 6000 |  | NA
3 | R&R 15% vinyl Siding |  | 3000 |  |  | 0 | Not shown - can't match | DWG
4 | R&R Exterior Sheathing - 25% Allowance |  | 56000 |  |  | 0 | Not shown - Not feasable | DWG
| R&R 25% of Existing wood Framing |  | 70000 |  |  |  | Not shown - Not feasable | DWG
| R&R existing Batt Insulation - 25% Allowance |  | 28000 |  |  |  | Not shown - Not feasable | DWG
5 | Power Wash siding |  | 39000 | sf | 15600 | 15600 |  | NA
12 | R&R existing wood windows |  | 315 | ea | 220500 | 220500 | 10% = $24,000 | ??
13 | Ramp at Existing Sliding doors |  | 1 | ls | 7500 | 7500 |  | NA
15 | R&R All Caulking and Sealants |  | 1 | ls | 100000 | 100000 |  | NA
16&17 | R&R all wall mounted Light Fixtures |  | 50 | ea | 20000 | 20000 | Assume 50 - Not shown | NA
18 | R&R Ptac Units |  | 0 |  | 0 | 0 | No Ptacs shown
19 | Repair Selected areas of Brick Rowlock |  | 0 |  | 0 | 0 | Deleted from drawings
20 | Wood Deck repair - 94 each |  |  |  |  | 42170
| R&R 3 boards per deck |  | 282 | ea | 22000 |  |  | NA
| R&R all handrails |  | 1500 | lf | 10500 |  |  | NA
| Re-anchor Existing Balusters |  | 4500 | ea | 4500 |  |  | NA
| R&R Spliced Rim boards - Assume 1 per balcony |  | 94 | ea | 2350 |  |  | NA
| R&R 1 joist per Balcony |  | 94 | ea | 2820 |  |  | NA
Attic
1 | Upgrade Attic insulation to R-38 |  | 51000 | sf | 51000 | 51000 | Adding, not replacing | NA
Egress Stairs
2 | R&R All existing Hardware at Stairs |  | 12 | ea | 9600 | 12000 |  | NA
| Repair Doors then prep and paint |  | 12 | ea | 2400 |  |  | NA
3 | R&R Exterior doors - new Insulated doors |  | 7 | ea | 15400 | 15400 |  | NA
5 | Re-attach/Re-anchor existing handrails |  | 1 | ls | 5000 | 5000 |  | NA
7 | R&R flooring and base |  | 1840 | sf | 18400 | 18400 |  | NA
8 | Paint stairwells |  | 6600 | sf | 6600 | 19200 |  | NA
| Paint stairs |  | 12 | flt | 12000
| Patch 25sf of Drywall |  | 300 | sf | 600
Common Areas
| Repair existing walls |  | 1 | ls | 4000 | 4000 | Allowance | NA
1 | R&R existing Carpet/Flooring |  | 17700 | sf | 123900 | 123900 |  | NA
2 | R&R Vinyl Base to 1x4 OG in Corridors |  | 6700 | lf | 46900 | 255800 |  | NA
| New wood Handrail and 1x4 banding |  | 3350 | lf | 60300
| New 1x6 chairrail-corridor |  | 3350 | lf | 26800
| Two -tone paint - above/below handrails |  | 60000 | sf | 39000
| New Wall sconces at unit entry doors |  | 144 | ea | 46800
| New can light at unit entry doors |  | 144 | ea | 36000
3 | Paint all CMU walls |  | 0 |  | 0 | 0 | Inc in other areas | NA
4 | Install new 1x6 chairrail in all common areas |  | 1900 | lf | 15200 | 15200 |  | NA
5 | [5 empty] | 41075 |  | NA
| R&R 20% of ACT |  | 5570 | sf | 13925
| R&R 15% od Ceiling Grid |  | 4200 | sf | 6300
| Paint all grid |  | 27800 | sf | 20850
6 | Upgrade all lighting to LED lights |  | 300 | ea | 102000 | 102000 | Assume 300+ | NA
7 | New Signage |  | 0 |  | 0 | 0 | Owner | NA
8 | Repair moisture damage/Paint |  | 0 |  | 0 | 0 | Owner to quantify? | NA
9 | Paint all other Walls |  | 17200 | sf | 8600 | 8600 |  | NA
10 | R&R all floor finishes |  | 0 |  | 0 | 0 | inc above | NA
11 | R&R existing wood base with 6" in other area |  | 1900 | lf | 15200 | 15200 |  | NA
12 | Miniblinds at all windows |  | 315 | ea | 47250 | 47250 | Allowance - $150 each | NA
Common Area Doors and Frames
1 | R&R 20% of interior doors & hardware |  | 16 | ea | 24000 | 102800 | 82 total | NA
| Install Rediframes at new openings |  | 38 | ea | 13300 |  | 38 new | NA
| Hang door and hardware |  | 38 | ea | 34200 |  |  | DWG
| Prep and paint all inteior doors |  | 82 | ea | 8200 |  | 82 ea | NA
| R&R all existing Door Hardware |  | 66 | ea | 23100 |  | 66 ea | NA
2 | R&R existing Main Entry and Rear patio doors |  | 2 | pr | 49000 | 49000 | Powered Sliders | NA
6 | Install prop-open alarms at exterior doors |  | 7 | ea | 2275 | 2275 |  | NA
Unit Entry Doors
1 | R&R all door hardware |  | 144 | ea | 72000 | 72000 |  | NA
3 | Install combination knocker/peephole |  | 0 |  | inc | inc
First Floor Common Areas
1 | Demolish Mailroom and Mail Station & Conference |  | 1 | ls | 5000 | 28000 |  | NA
| Mailboxes |  | 160 | ea | 8000
| Repair finishes |  | 1 | ls | 15000
3 | Modify/Convert Beauty Salon to Visiting Exam Room |  | 213 | sf | 13845 | 13845 |  | NA
4 | Replace Finishes in Managers office |  | 1 | ls | 25000 | 25000 |  | NA
5 | Community Room 2500 sf |  |  |  |  | 41400 |  | NA
| R&R rear patio Vestibule doors and Sidelights |  | 0 |  | 0 |  | inc above
| R&R lighting |  | 12 | ea | 6000 |  | Assumed 12
| R&R ceiling Texture/Refinish |  | 2500 | sf | 7500
| R&R Ceiling fans |  | 12 | ea | 8400 |  | Assumed 12
| Paint window and door casings |  | 1 | ls | 2000
| R&R existing floor |  | 2500 | sf | 17500
6 | Community Kitchen 326 SF |  |  |  |  | 28637.5 |  | NA
| R&R all cabinets |  | 30 | lf | 15000
| R&R flooring |  | 0 |  | 0 |  | inc above
| New ADA compliant sink |  | 1 | ea | 2500
| R&R existing Refrigerator - 25CF sidebyside |  | 1 | ea | 2000
| Install new Garbge disposal |  | 1 | ea | 400
| Install new microwave/Oven combo unit |  | 1 | ea | 2000
| New lighting |  | 1 | ls | 1500
| New 4" cove base |  | 75 | lf | 187.5
| R&R Pantry shelving |  | 1 | ls | 1500
| R&R window sills - Cultured Marble |  | 2 | ea | 800
| Paint all casings |  | 1 | ls | 250
| R&R existing water cooler - combo hi/low |  | 1 | ea | 2500
7 | Laundry Room |  |  |  |  | 14604 |  | NA
| R&R flooring and base |  | 0 |  | 0 |  | inc above
| R&R ACT and grid |  | 918 | sf | 2754
| New Plam folding counter |  | 6 | ea | 1950
| Remove Laundry sink |  | 6 | ea | 2400
| Power to Vending machine area |  | 6 | ea | 7500
8 | Restrooms |  |  |  |  | 12400 |  | NA
| Enlarge entries |  | 2 | ea | 5000
| R&R existing Toilets - low flow |  | 4 | ea | 4800
| R&R TPH, PTH, Waste receptacle, Soap Disp, Robe hooks |  | 2 | ea | 1600
| New Full-width mirror |  | 2 | ea | 1000
| R&R Flooring |  | 0 |  | 0 |  | In above
| Painting Common area |  |  |  |  | 21050 |  | NA
| Paint all common walls |  | 17200 | sf | 8600
| Paint all common Ceilings |  | 6900 | sf | 3450
| Paint trim |  | 3000 | lf | 9000
Apartment Units
HC Living Units 8 units | [5 empty] | 69200 |  | NA
a. | R&R Lighting |  | 8 | ea | 16000
b. | Repair DW - Allownce 20 sf |  | 8 | ea | 800 |  | Allowance per Notes
c. | R&R appliances |  | 8 | ea | 19200
d. | Repair Ceiling/wall joint - allow 10lf |  | 8 | ea | 1200 |  | Allowance per Notes
e. | R&R door hardware |  | 8 | ea | 0 |  | included next line item
f. | R&R doors and frames |  | 8 | ea | 24000
g. | Replace doorbells at lowered height |  | 8 | ea | 4000
h. | Install wood package shelf at entry |  | 8 | ea | 4000
1 | Entry 8 |  |  |  |  | 5600 |  | NA
| R&R Entry door and frame |  | 8 | ea | 0 |  | Included above
| Patch wall |  | 8 | ea | 1600
| Reconfigure closet for accessibility |  | 8 | ea | 4000
2 | Living area |  |  |  |  | 21748 |  | NA
| R&R carpet - laminated vinyl plank floor |  | 1900 | sf | 13300
| Replace 50sf of gypcrete floor |  | 400 | sf | 3200 |  | Allowance per Notes
| R&R window sill with Cultured Marble |  | 48 | lf | 384
| R&R base - wood OG base |  | 608 | lf | 4864
3 | Bedroom |  |  |  |  | 31804 |  | NA
| R&R door and frame |  |  |  | 0 |  | inc above
| R&R carpet |  | 2500 | sf | 17500
| R&R window sill with Cultured Marble |  | 80 | lf | 640
| Add new ceiling fan/light combo |  | 16 | ea | 4000
| R&R base - wood OG base |  | 1096 | lf | 8768
| R&R closet shelving |  | 112 | lf | 896
5 | Kitchen |  |  |  |  | 73460 |  | NA
| Reconfigure Kitchen |  | 8 | ea | 4000 |  | Replace
| R&R flooring |  | 700 | sf | 4900
| R&R cabinets |  | 8 | ea | 36000
| Install countertop |  |  |  | 0 |  | inc
| New double bowl sink |  | 8 | ea | 3200
| New Refrigerator/Stove |  | 8 | ea | 14400
| Back splash at stove |  | 8 | ea | 2000
| Hood with fire canisters |  | 8 | ea | 3200
| Garbage Disposal |  | 8 | ea | 2800
| Task Lighting |  | 8 | ea | 2000
| 4" Cove Base |  | 240 | lf | 960
6 | Bathroom |  |  |  | 0 | 66400 |  | NA
| R&R tub and tile surrond |  | 8 | ea | 32000
| Solid blocking for accessories |  | 8 | ea | 1600
| New Toilet |  | 8 | ea | 9600
| New Vanity |  | 8 | ea | 4800
| New custom Medicine Cabinet |  | 8 | ea | 4000
| R&R closet shelving |  | 8 | ea | 1200
| Ceramic tile floor and base |  | 600 | sf | 8400
| Floor drain |  | 8 | ea | 4800
Standard Units 136 Units | [5 empty] | 2769718 |  | NA
a. | R&R entry door hardware |  | 136 | ea | 0 |  | Included in above
b. | R&R all interior door hardware |  | 952 | ea | 238000
c. | Caulk/seal bottom of wall |  | 15600 | lf | 46800
d. | Rem VCT - Replace with Ceramic Tile |  | 8432 | sf | 118048
e. | R&R kitchen floor |  | 7350 | sf | 51450
f. | R&R medicine cabinet - disconnect lights |  | 136 | ea | 20400
g. | R&R shower head |  | 136 | ea | 13600
h. | Remove cabinet above rerigerator |  | 136 | ea | 10200
| R&R Cabinets |  | 136 | ea | 544000 |  | Dwgs call for new cabinets
| R&R countertop |  | 136 |  | 0 |  | inc above
| R&R sink |  | 136 | ea | 54400
i. | New refrigerator/Stove/hood |  | 136 | ea | 285600
j. | Install grab bars at at tub |  | 136 | ea | 20400
k. | Install wood package shelf at entry |  | 136 | ea | 44200
l. | Drywal repair - 40sf Allowance |  | 136 | ea | 13600 |  | Allowance per Notes
| New Studs/Drywall/Soffits |  | 1 | ls | 241750
n. | R&R Load Center |  | 136 | ea | 272000 |  | Drgs do not call for new load center
o. | Anti-scald protection |  | 136 | ea | 13600
p. | R&R 50sf Gypcrete |  | 6800 | sf | 54400 |  | Allowance per Notes
q. | Prep/paint all doors |  | 952 | ea | 95200
r. | R&R 15% of unit Entry doors |  | 21 | ea | 0 |  | Allowance per Notes- already addressed.
s. | R&R 40 lf of base per unit |  | 5440 | lf | 43520 |  | Allowance per Notes
t. | Move thermostat |  |  |  | 0 |  | See HVAC below
u. | Replace toekick at all cabinets |  |  |  | 0 |  | Inc. above
| Other flooring |  | 78700 | sf | 472200
| Paint all ceilings ( Inc. HC) |  | 107700 | sf | 53850
7 | Paint all walls ( Inc. HC) |  | 125000 | sf | 62500
Building Security/Access Control
2&3 | Upgraded keyless entry system |  | 233 | ea | 233000 | 233000 | 233 doors | NA
4&5 | Automatic entry door system |  | 2 | ea | 5000 | 5000 | 2 doors | NA
Fire System |  |  | 0 |  | 0 | 0
1 | R&R Sprinkler System |  | 51500 | sf | 141625 | 141625 | Third floor only | NA
2,3,4 | R&R Fire Alarm System |  | 154400 | sf | 154400 | 154400 | Allowance | NA
Plumbing
2 | R&R all shut-off Valves |  | 500 | ea | 50000 | 50000 | Assumed quantity | NA
5 | R&Rwater boiler and 500 gallon Storage tank |  | 1 | ls | 35000 | 35000 |  | NA
8&9 | Allowance to access Ceiling for new plumbing |  | 8 | ea | 4000 | 4000 |  | NA
10 | New vanity fixtures |  | 136 | ea | 68000 | 68000 |  | NA
18 | Add Water booster Pump |  | 1 | ls | 15000 | 15000 |  | NA
| Reconnect Water Softener |  | 1 | ls | 5000 | 5000 |  | NA
19 | Install 3" Bacflow Preventer |  | 1 | ls | 7500 | 7500 |  | NA
HVAC
1 | R&R split systems in Units |  | 144 | ea | 576000 | 576000 |  | NA
2 | Install new themostat |  | 144 | ea | 36000 | 36000 |  | NA
4 | R&R bathroom Exhaust fans |  | 144 | ea | 21600 | 21600 |  | NA
1 | Service Common area HVAC systems |  | 10 | ea | 10000 | 10000 |  | NA
Electrical
2 | R&R all interior fixtures with LED type |  | 154400 | sf | 154400 | 154400 |  | NA
3 | Upgrade Exterior lighting |  | 0 |  |  |  |  | NA
| Site |  | 1 | ls | 6000 | 6000 | 4 existing poles | NA
| Building perimeter |  | 0 |  | 0 | 0 | inc above | NA
4 | Replace all exit signs, etc. |  | 0 |  | 0 | 0 |  | NA
7 | Add GFCI receptacles in Kitchens |  | 144 | ea | 72000 | 72000 |  | NA
13 | R&R common area light switches |  | 6900 | sf | 20700 | 20700 |  | NA
16 | Remove Call light indicators |  | 0 |  | 0 | 0 |  | NA
17 | Install magnetic hold opens at fire rated assemblies |  | 12 | ea | 30000 | 30000 |  | NA
| Re-device ALL units |  | 144 | ea | 144000 | 144000 |  | NA
Elevator
1 | Modernization |  | 2 | ea | 70000 | 70000 |  | NA
| Temp stair climber |  | 2 | ea | 0 | 0 | Required?? | NA
|  |  | 0 |  | 0
|  |  | 0 |  | 0
|  |  | Subtotal |  |  | 6875481.5
|  |  | Contingency 10% |  |  | 687548.15
|  |  | General Conditions 6% |  |  | 453781.779
|  |  | OH 2% |  |  | 151260.593
|  |  | Profit 6% |  |  | 453781.779
|  |  | TOTAL |  |  | 8621853.801
[5 empty] | Modified Total | 8621853.801
[6 empty] | 1985812 | Potential Wholesale deletes
[6 empty] | 2422690.64 | With markups & Contingency
[6 empty] | 1211345.32 | Assume half
8621853.801
-1211345.32
7410508.481

## General Conditions
Project name: | 0
Project duration : |  |  |  |  | Hours | Days | Weeks | Month | Year
Substantial completion: |  |  |  |  | 0 | 0 |  |  |  | work
Square footage of project: | 154400 | [8 empty] | calendar
Item | Quan | UOM | Rate | Total
ADMINSTRATIVE REQUIREMENTS: | [6 empty] | Total PWR
Project manager |  | hr | 45 | 0 |  |  | Laborer | 45
Superintendent | 0 | hr | 50 | 0 |  |  | Carpenter | 49
Travel: (DAG fleet vehicle) |  | miles | 0.55 | 0
Building permit: | 0 | ea | 0 | 0
Tap fees: | 0 | ea | 0 | 0
TOTAL ADMISTRATIVE REQUIREMENTS COSTS |  |  |  | 0
QUALITY REQUIREMENTS:
Surveying |  | ea |  | 0
Drawing fee |  | ea | 0 | 0
Special Inspections |  | ea | 0 | 0
Safety Director |  | hrs | 35 | 0
Builder's Risk Insurance (new construction) | 0.2 | $ | 0 | 0
Other insurance | 1 | $ | 0 | 0
TOTAL QUALITY REQUIREMENTS COSTS |  |  |  | 0
TEMPORARY FACILTIES & CONTROLS:
Electric |  | mos. | 300 | 0
Lighting |  | mos. | 0 | 0
Drinking Water |  | mos. | 100 | 0
Heating and cooling |  | mos. | 0 | 0
Ventilation/dust control |  | mos. | 0 | 0
Telephone/ Fax |  | mos. | 250 | 0
Cellphone |  | mos. | 100 | 0
Internet connectivity |  | mos. | 50 | 0
Temporary Toilets (2/ month) |  | mos. | 200 | 0
Storage sheds |  | lot | 0 | 0
Street cleaning, wheel washing stations |  | lot | 0 | 0
Parking |  | lot | 0 | 0
Soil/compaction testing for building pad |  | lot | 3000 | 0
Project identification |  | lot | 1200 | 0
Barriers - prevent unauthorized entry |  | lf | 7 | 0
Enclosures - temporary interior partitions (drywall) |  | so | 3.25 | 0
Security - from theft, coordinate w/owner |  | plan | 0 | 0
Dust control - positive means (drawn air) |  | lot | 0 | 0
Temporary Fire Extinguishers |  | ea | 30 | 0
Field office |  | trips | 500 | 0
TOTAL TEMPORARY FACILITIES & CONTROLS COSTS |  |  |  | 0
EXECUTION & CLOSEOUT:
Final cleaning |  | sf | 0.45 | 0
TOAL EXECUTION & CLOSEOUT COST |  |  |  | 0
OTHERS:
Dumpsters (3/month) |  | ea | 325 | 0
Safety | 1 | lot | 500 | 500
Misc small tools/expenses | 1 | lot | 500 | 500
TOTAL OTHERS COST |  |  |  | 1000
TOTAL GENERAL CONDITIONS COSTS |  |  |  | 1000
PERCENTAGE OF GC TO JOB |  |  |  | #DIV/0!

## Walls and soffits
New Walls | Quant | Leigth | Total | Height | SF both sides |  | Drywall Take off | [6 empty] | Job:___________________________________
Unit B ansi A | 3 | 73 | 219 | 8 | 3504 | [22 empty] | lf x 4
Unit D ansi A | 2 | 70 | 140 | 8 | 2240 |  |  |  | Track | Add 10% waste | [7 empty] | Studs | lf x height |  |  |  | Drywall |  | sf x1 or 2 |  |  | Caulk | SAB |  | Insulation
Unit B 504 | 6 | 79 | 474 | 8 | 7584 | Wall type | LF | Wall Height | 1 1/2" | 1 1/2" DL | 2 1/2" | 2 1/2" DL | 3 5/8" | 3 5/8" DL | 6" | 6" DL | CH | 1 1/2" | 2 1/2" | 3 5/8" | 6" | RC Cha | 5/8" | 5/8" Abuse | 1/2" | SWL | Cement Brd | Acoust | 2" | 3"
Unit C 504 | 2 | 70 | 140 | 8 | 2240 |  | 973 | 8 |  |  |  |  | 1070 | 1070 | [5 empty] | 8000 |  |  |  |  | 16000 |  |  |  |  | 7000
|  |  | 973 |  | 15568
Soffits |  | SF | Total
Unit B ansi B | 67 | 113 | 7571
Unit A ansi B | 112 | 95 | 10640
Unit D ansi B | 48 | 134 | 6432
Unit C ansi B | 3 | 160 | 480
Uint E ansi B | 8 | 80 | 640
Unit C ansi A | 1 | 117 | 117
Unit B ansi A | 3 | 102 | 306
Unit D ansi A | 2 | 102 | 204
Unit C 504 | 2 | 99 | 198
Unit B 504 | 6 | 103 | 618
27206
34007.5

## 3
PROJECT NAME: | 0 | BID DATE: | #REF! |  | PROJECT ESTIMATE: |  | #REF!
| #REF! |  |  |  | SQFT |  | #REF!
| 0 | ESTIMATOR | #REF!
CODE | DESCRIPTION | QUANTITY | UNIT | LABOR |  | MATERIAL |  | EQUIP/SUB
|  |  |  | Unit | Extension | Unit | Extension | Unit | Extension
CONCRETE WORK
building
| form footing steps |  | ea | 60 | 0 | 70 | 0 |  | 0 | 0
| pour footings (3000 PL) | 4 | cy | 60 | 240 | 125 | 500 |  | 0 | 740
| form footing pad templates |  | ea | 50 | 0 | 20 | 0 |  | 0
| pour ftg pads (3000 PL) |  | cy | 45 | 0 | 80 | 0 |  | 0
| Form Walls |  | sf | 6 | 0 | 2 | 0 | 1 | 0
| form brick ledge 6" w x 8" ht |  | lf | 6 | 0 | 3 | 0 |  | 0
| Pour walls |  | cy | 45 | 0 | 84 | 0 | 15 | 0
| Form column x ht |  | sf | 5 | 0 | 2 | 0 | 2 | 0
| Pour column |  | cy | 50 | 0 | 74 | 0 | 15 | 0
| form column recess ( ea) |  | ea | 35 | 0 | 20 | 0 |  | 0
| Form pedistal x ht |  | sf | 5 | 0 | 2 | 0 | 2 | 0
| pour pedistal (4000 PL) |  | cy | 70 | 0 | 84 | 0 |  | 0
| set anchor bolts |  | ea | 45 | 0 | 10 | 0 |  | 0
| grout base plates |  | ea | 45 | 0 | 30 | 0 |  | 0
| Form suspended slab |  | sf | 7 | 0 | 4 | 0 | 2 | 0
| Pour supended slab |  | cy | 0 | inc finish | 90 | 0 |  | 0
| Form Beam |  | sf | 7 | 0 | 4 | 0 | 2 | 0
| Pour beam |  | cy | 45 | 0 | 84 | 0 |  | 0
| Form stair risers |  | lf | 8 | 0 | 2 | 0 |  | 0
| Form Stair bottom |  | sf | 7 | 0 | 4 | 0 | 2 | 0
| Pour stairs |  | cy | 70 | 0 | 90 | 0 |  | 0
| Form SOG |  | lf | 5 | 0 | 0.75 | 0 | 0.5 | 0
| expansion joint SOG |  | lf | 1 | 0 | 0.55 | 0 |  | 0
| pour SOG (4500 PL) |  | cy | 0 | incl finish | 86 | 0 |  | 0
| form column diamonds |  | lf | 5 | 0 | 1 | 0 |  | 0
| pour column diamonds (4500 PL) |  | ea |  | incl finish |  | incl sog |  | 0
| pour SOMD (4500 PL) |  | cy | 0 | incl finish | 90 | 0 |  | 0
| pour pan stairs (4000 PL) |  | cy | 0 | incl finish | 100 | 0 |  | 0
| form locker bases |  | lf | 4 | 0 | 1 | 0 |  | 0
| pour locker bases |  | cy | 100 | 0 | 110 | 0 |  | 0
| set pipe bollards |  | ea | 90 | 0 | 90 | 0 |  | 0
[5 empty] | 240 |  | 500 |  | 0
site
| form type 6 curb - each side |  | lf | 3.25 | 0 | 2 | 0 |  | 0
| form type 6 curb - each side |  | lf | 3.25 | 0 | 2 | 0 |  | 0
| pour Type 6 curb |  | cy | 0 | incl finish | 82 | 0 |  | 0
| Form islands |  | lf | 6 | 0 | 3 | 0 | 0.5 | 0
| Form walls thk, ht |  | sf | 6 | 0 | 2 | 0 | 1 | 0
| Pour islands |  | cy | 45 | 0 | 82 | 0 | 15 | 0
| expansion joint |  | lf | 0.75 | 0 | 0.55 | 0 |  | 0
| Handicap ramp |  | ea | 210 | 0 | 175 | 0 |  | 0
| form drive thru pad |  | lf | 2 | 0 | 4 | 0 |  | 0
| pour dumpster pad |  | cy | 0 | incl finish | 82 | 0 |  | 0
| form sidewalk T/D - face |  | lf | 4 | 0 | 2 | 0 |  | 0
| form sidewalk |  | lf | 2 | 0 | 4 | 0 |  | 0
| pour sidewalks (4000 AE) |  | cy | 0 | incl finish | 82 | 0 |  | 0
[5 empty] | 0 |  | 0 |  | 0
TOTAL CONCRETE:
| 3000 PL | 4 | cy
| 4000 PL Walls & Piers | 0 | cy
| 4500 PL SOG | 0 | cy
| 4500 PL (SOMD) | 0 | cy
| 4500 AE Site | 0 | cy
|  | 4 | cy
BUILDING EXCAV & FILL
building
| Excavate footings 1-6 to 4 w | 50 | lf | 8 | 400 |  | 0 | 8 | 400 | 800
| Sawcut SOG | 100 | lf |  | 0 |  | 0 | 7 | 700 | 700
| excvav ftg pad 4'x4', 6'x6' x 3' dp |  | ea | 90 | 0 |  | 0 | 80 | 0
| excav ftg pad 8'x8'x3' dp (int) |  | ea | 150 | 0 |  | 0 | 125 | 0
| excav ftg pad 8'x8' x 5' dp. |  | ea | 200 | 0 |  | 0 | 175 | 0
| excav ftg pier at exist 3'x3' x 3' dp. |  | ea | 80 | 0 |  | 0 | 70 | 0
| haul foundation spoils off site | 12 | cy |  | 0 |  | 0 | 12 | 144 | 144
| backfill foundation wall (3' ht) | 100 | lf | 3 | 300 |  | 0 | 3 | 300 | 600
| backfill pads |  | ea | 65 | 0 |  | 0 | 45 | 0
| granular backfill material |  | tn | 0 | incl above | 17 | 0 |  | 0
| perimeter insulation |  | sf | 0.75 | 0 | 1.15 | 0 |  | 0
| fine grade SOG |  | sf | 0.25 | 0 | 0 | 0 | 0.2 | 0
| granular @ SOG |  | tn | 0 | incl above | 17 | 0 |  | 0
| visqueen 8 mil |  | sf | 0.09 | 0 | 0.15 | 0 |  | 0
| excavate pipe billards |  | ea | 70 | 0 | 0 | 0 | 55 | 0
[5 empty] | 700 |  | 0 |  | 1544
site
| excavate curb |  | lf | 2 | 0 | 0 | 0 | 1.5 | 0
| backfill curb |  | lf | 1 | 0 | 0 | 0 | 0.75 | 0
| granular backfill material |  | tn | 0 | 0 | 17 | 0 |  | 0
| Excavate footings 1-6 to 4 w |  | lf | 6 | 0 |  | 0 | 5.5 | 0
| backfill foundation wall (3' ht) |  | lf | 2.4 | 0 |  | 0 | 2.25 | 0
| excavate sidewal T/D |  | lf | 1.9 | 0 |  | 0 | 1.6 | 0
| backfill sidewalk T/D |  | lf | 0.9 | 0 |  | 0 | 0.75 | 0
| fine grade sidewalk |  | sf | 0.35 | 0 |  | 0 | 0.3 | 0
| granular @ sidewalk 4" 304 |  | tn | 0 | incl above | 17 | 0 |  | 0
| fine grade asphalt paving |  | sf | 0.08 | 0 |  | 0 | 0.04 | 0
[5 empty] | 0 |  | 0 |  | 0
| TOTAL BUILDING EXCAVATION & FILL: | 0
CONCRETE SUMMARY:
| Total Concrete Cost W/O Rebar & Finish: | 0
| Total Concrete Quantity: | 4 | cy
| Total Cost Per CY: | 0
CONCRETE REINFORCING
building
| rebar (85#/cy) | 1 | tn |  | 0 | 1100 | 1100 | 900 | 900 | 2000
| drill & epoxy dowels |  | ea | 15 | 0 | 15 | 0 |  | 0
| mesh 21 lb (SOG & SOMD) |  | sf | 0.14 | 0 | 0.28 | 0 |  | 0
[5 empty] | 0 |  | 1100 |  | 900
| site | [7 empty] | 0
| rebar (150#/cy) |  | tn |  | 0 | 1000 | 0 | 700 | 0
| drill & epoxy dowels |  | ea | 15 | 0 | 15 | 0 |  | 0
| Mesh 42# |  | sf | 0.14 | 0 | 0.35 | 0 |  | 0
[5 empty] | 0 |  | 0 |  | 0
| TOTAL CONCRETE REINFORCING: | 0
CONCRETE FINISHING
building
| finish SOG 5" | 150 | sf |  | 0 |  | 0 | 6 | 900 | 900
| finish SOMD w/pump |  | sf |  | 0 |  | 0 | 1.4 | 0
| finish pan stairs & landings |  | sf | 3 | 0 |  | 0 |  | 0 |  | #1 | 5884
| finish stairs tread/riser |  | sf | 3 | 0 |  | 0 |  | 0
| cure |  | sf | 0.1 | 0 | 0.08 | 0 |  | 0
[5 empty] | 0 |  | 0 |  | 900
site
| finish/rub curb (1.5 sf/lf) |  | sf | 4.5 | 0 |  | 0 |  | 0
| finish sidewalk |  | sf |  | 0 |  | 0 | 1.4 | 0
| Finish Drivethru |  | sf |  | 0 |  | 0 | 1.4 | 0
| saw cut control joints |  | lf |  | 0 |  | 0 | 1.25 | 0
| cure |  | sf | 0.1 | 0 | 0.08 | 0 |  | 0
[5 empty] | 0 |  | 0 |  | 0
| TOTAL CONCRETE FINISHING: | 0
Concrete Summary
| Site |  |  |  | 0 |  | 0 |  | 0
| Building |  |  |  | 940 |  | 1600 |  | 3344
CONCRETE SUMMARY:
| Total Concrete Cost w/Rebar & Finish: | 0
| Total Concrete Quantity: | 4 | cy
| Total Cost Per CY: | 0

## 4
PROJECT NAME: | 0 | BID DATE: | #REF! |  | PROJECT ESTIMATE: |  | #REF!
| #REF! |  |  |  | SQFT |  | #REF!
| 0 | ESTIMATOR | #REF!
CODE | DESCRIPTION | QUANTITY | UNIT | LABOR |  | MATERIAL |  | EQUIP/SUB
|  |  |  | Unit | Extension | Unit | Extension | Unit | Extension
| MASONRY |  | Average cost of masonry - 20.75 per sf of floor area
| Split Faced Block at dumpster | 450 | sf |  | 0 |  | 0 | 20 | 9000
| 8" reinforced blk back-up- 1 hr F.R. |  | sf |  | 0 |  | 0 | 16 | 0
| Seal brick wall |  | sf |  | 0 |  | 0 | 1 | 0
| face brick |  | sf |  | 0 |  | 0 | 25 | 0
| Cast Stone |  | sf |  | 0 |  | 0 | 32 | 0
[5 empty] | 0 |  | 0 |  | 9000
| TOTAL MASONRY: | 9000
MASONRY RESTORATION
| wash brick |  | sf |  | 0 |  | 0 | 2 | 0
| remove clean relay brick |  | sf |  | 0 |  | 0 | 40 | 0
| tuck point brick |  | sf |  | 0 |  | 0 | 15 | 0
[5 empty] | 0 |  | 0 |  | 0
| TOTAL MASONRY RESTORATION: | 0

## 5
PROJECT | 0 | BID DATE: | #REF! |  | PROJECT ESTIMATE: |  | #REF!
| #REF! |  |  |  | SQFT |  | #REF!
| 0 | ESTIMATOR | #REF!
CODE | DESCRIPTION | QUANTITY | UNIT | LABOR |  | MATERIAL |  | EQUIP/SUB
|  |  |  | Unit | Extension | Unit | Extension | Unit | Extension
| STRUCT. & MISC. METALS |  | Average cost of steel & BJ =11.25 per sf of floor area
| Tube steel supports |  | lf |  | 0 |  | 0 | 25 | 0
| Per ton |  | ea |  | 0 |  | 0 | 5000 | 0
| SS Pipe |  | lf |  | 0 |  | 0 | 30 | 0
| Gates |  | ea |  | 0 |  | 0 | 1250 | 0
| roof deck 1-1/2" 22 ga |  | sf |  | 0 |  | 0 | 1.5 | 0
| Aluminum ships ladder |  | ea | 2200 | 0 |  | 0 | 1363 | 0
| Bollards |  | ea |  | 0 | 125 | 0 | 0 | 0
| stair & railing |  | fl |  | 0 |  | 0 | 5000 | 0
[5 empty] | 0 |  | 0 |  | 0
| TOTAL STRUCTURAL STEEL: | 0
Total Tons:
ORNAMENTAL METAL
|  |  | sf |  | 0 |  | 0 | 10 | 0
[5 empty] | 0 |  | 0 |  | 0
| TOTAL ORNAMENTAL METAL: | 0
PIPE BOLLARD COVERS
| At drivethru |  | ea | 45 | 0 | 75 | 0 |  | 0
| interior ceiling ( ea) |  | lf | 6 | 0 | 30 | 0 |  | 0
| wall interior ( ea) |  | lf | 6 | 0 | 20 | 0 |  | 0
| wall exterior ( ea) |  | lf | 8 | 0 | 25 | 0 |  | 0
[5 empty] | 0 |  | 0 |  | 0
| TOTAL EXPANSION JOINT COVERS: | 0

## 6
PROJECT | 0 | BID DATE: | #REF! |  | PROJECT ESTIMATE: |  | #REF!
| #REF! |  |  |  | SQFT |  | #REF!
| 0 | ESTIMATOR | #REF!
CODE | DESCRIPTION | QUANTITY | UNIT | LABOR |  | MATERIAL |  | EQUIP/SUB
|  |  |  | Unit | Extension | Unit | Extension | Unit | Extension
ROUGH CARPENTRY
| 3/4 Fire T plywood |  | sht | 45 | 0 | 50 | 0 |  | 0
| 3/4 PT |  | sht | 45 | 0 | 35 | 0 |  | 0
| 2x4 PT |  | lf | 3 | 0 | 0.55 | 0 |  | 0
| 2x6 PT |  | sht | 3 | 0 | 0.65 | 0 |  | 0
| 2x8 PT |  | lf | 3.5 | 0 | 0.85 | 0 |  | 0
| 2x10 PT |  | lf | 3.75 | 0 | 1.1 | 0 |  | 0
| 2x12 PT |  | lf | 4 | 0 | 1.65 | 0 |  | 0
|  |  | sf |  | 0 |  | 0 |  | 0
| 1x4 PT |  | lf | 3 | 0 | 0.35 | 0 |  | 0
| 1x4 Non PT |  | sf | 3 | 0 | 0.4 | 0 |  | 0
|  |  | sf | 1 | 0 | 1.25 | 0 |  | 0
|  |  | sf | 1 | 0 | 1.25 | 0 |  | 0
|  |  | sf | 1 | 0 | 1.25 | 0 |  | 0
| Braces and stays |  | lf | 1 | 0 | 1 | 0 |  | 0
| Lifts/Equipment |  | month |  | 0 |  | 0 | 3000 | 0
|  |  | sf | 1 | 0 | 1.25 | 0 |  | 0
| Additional misc costs |  | hr | 50 | 0 |  | 0 |  | 0
| Frame perimeter walls |  | lf | 8.65 | 0 |  | 0 |  | 0
| Exterior sheathing |  | sht | 40 | 0 |  | 0 |  | 0
| Interior walls and soffits |  | lf | 8 | 0 |  | 0 |  | 0
| Roof sheathing |  | sht | 35 | 0 |  | 0 |  | 0
| Facia |  | lf | 4 | 0 |  | 0 |  | 0
| Rake outrigger framing |  | lf | 8 | 0 |  | 0 |  | 0
| Drops at drive thru |  | lf | 8 | 0 |  | 0 |  | 0
| Frame bottom of drivethru drop |  | sf | 2 | 0 |  | 0 |  | 0
| Frame curved drop at tellers |  | lf | 12 | 0 |  | 0 |  | 0
| Frame bottom of curved drop |  | sf | 2 | 0 |  | 0 |  | 0
|  |  | lf | 3.3 | 0 | 2 | 0 |  | 0
|  |  | lf | 3.3 | 0 | 3 | 0 |  | 0
| in-wall blocking millwork |  | lf | 3.3 | 0 | 1.25 | 0 |  | 0
| in-wall blocking specialties |  | lf | 3.3 | 0 | 1.25 | 0 |  | 0
| in-wall blocking misc |  | lf | 4 | 0 |  | 0 |  | 0
[5 empty] | 0 |  | 0 |  | 0
| TOTAL ROUGH CARPENTRY: | 0
WOOD TRUSSES
| Trusses |  | lf | 5 | 0 | 8 | 0 | 1 | 0
| Girder Trusses |  | lf | 6 | 0 | 12 | 0 | 1.5 | 0
|  |  | lf |  | 0 |  | 0 |  | 0
|  |  | lf |  | 0 |  | 0 |  | 0
|  |  | lf |  | 0 |  | 0 |  | 0
[5 empty] | 0 |  | 0 |  | 0
| TOTAL WOOD TRUSSES: | 0
EXTERIOR FINISH CARPENTRY
| Soffits/rakes etc |  | lf | 7 | 0 | 0 | 0 |  | 0
|  |  | lf | 0 | 0 | 0 | 0 |  | 0
|  |  | lf | 0 | 0 | 0 | 0 |  | 0
|  |  | lf | 0 | 0 | 0 | 0 |  | 0
|  |  | lf | 0 | 0 | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 |  | 0
| TOTAL EXTERIOR FINISH CARPENTRY: | 0
FINISH CARPENTRY
| base cabinet (p. lam) |  | lf | 50 | 0 | 400 | 0 |  | 0
| wall cabinet (p. lam.) |  | lf | 50 | 0 | 375 | 0 |  | 0
| Casing at wood door frames |  | lf | 4 | 0 | 3 | 0 |  | 0
| FRP |  | sf | 6 | 0 | 4 | 0 |  | 0
| Fixed shelves |  | lf | 5 | 0 | 7 | 0 |  | 0
[5 empty] | 0 |  | 0 |  | 0
| TOTAL FINISH CARPENTRY: | 0
CAST MARBLE
|  |  | lf | 125 | 0 | 30 | 0 |  | 0
|  |  | lf | 125 | 0 | 40 | 0 |  | 0
|  |  | lf | 85 | 0 | 17 | 0 |  | 0
|  |  | lf | 85 | 0 | 17 | 0 |  | 0
|  |  | lf | 5 | 0 | 3.3 | 0 |  | 0
[5 empty] | 0 |  | 0 |  | 0
| TOTAL CAST MARBLE: | 0

## 7
PROJECT | 0 | BID DATE: | #REF! |  | PROJECT ESTIMATE: |  | #REF!
| #REF! |  |  |  | SQFT |  | #REF!
| 0 | ESTIMATOR | #REF!
CODE | DESCRIPTION | QUANTITY | UNIT | LABOR |  | MATERIAL |  | EQUIP/SUB
|  |  |  | Unit | Extension | Unit | Extension | Unit | Extension
WATERPROOFING
| Cold Fluid Applied Waterproofing |  | sf |  | 0 |  | 0 | 3.06 | 0
| protection board |  | sf |  | 0 |  | 0 | 1 | 0
[5 empty] | 0 |  | 0 |  | 0
| TOTAL WATERPROOFING: | 0
WATER REPELLANT
| brick sealant |  | sf |  | 0 |  | 0 | 0.5 | 0
[5 empty] | 0 |  | 0 |  | 0
| TOTAL WATER REPLELLANT: | 0
INSULATION
7220 | rigid insulation, 2" |  | sf |  | 0 |  | 0 |  | incl mason
| R-19 Wall insulation w/ FSK |  | sf | 0.75 | 0 | 0.7 | 0 |  | 0
| firestopping, 6" x 6" |  | lf |  | 0 |  | 0 |  | 0
7205 | SAB insulation |  | sf | 0.35 | 0 | 0.45 | 0 |  | 0
[5 empty] | 0 |  | 0 |  | 0
| TOTAL INSULATION: | 0
| ROOFING & SHEET METAL |  | Average cost of roof/sheetmetal = 5.65/sf of floor area
| Shingles |  | sf |  | 0 |  | 0 | 5 | 0
| roof walk pads, 3' x 4' |  | ea |  | 0 |  | 0 | 15 | 0
| scuppers |  | ea |  | 0 |  | 0 | 25 | 0
| roof drains |  | ea |  | 0 |  | 0 |  | 0
| flash parapet @ existing building |  | lf |  | 0 |  | 0 | 15 | 0
| flash parapet @ new building |  | lf |  | 0 |  | 0 | 15 | 0
| Roof Hatch |  | ea | 48 | 0 |  | 0 | 966 | 0
| copings |  | lf |  | 0 |  | 0 | 25 | 0
| gutter & DS |  | lf |  | 0 |  | 0 | 8 | 0
[5 empty] | 0 |  | 0 |  | 0
| TOTAL ROOFING & SHEET METAL: | 0
METAL WALL PANELS
|  |  | sf | 3 | 0 |  | 0 | 45 | 0
|  |  | sf |  | 0 |  | 0 | 10 | 0
[5 empty] | 0 |  | 0 |  | 0
| TOTAL METAL PANELS: | 0
EIFS
| Wall |  | sf |  | 0 |  | 0 | 14 | 0
|  |  | ea |  | 0 |  | 0 |  | 0
[5 empty] | 0 |  | 0 |  | 0
| TOTAL EIFS: | 0
FIREPROOFING
| spray fireproofing per sf floor/ceiling area |  | sf |  | 0 |  | 0 | 2.25 | 0
| Firestopping |  | sf |  | 0 |  | 0 |  | 0
[5 empty] | 0 |  | 0 |  | 0
| TOTAL FIREPROOFING: | 0
CAULKING
| masonry joints (control joints) |  | lf |  | 0 |  | 0 | 4 | 0
| fire caulking |  | lf |  | 0 |  | 0 | 8 | 0
| EIFS/DEFS caulking |  | lf |  | 0 |  | 0 | 3.5 | 0
| exterior windows |  | ea |  | 0 |  | 0 |  | By Alum
[5 empty] | 0 |  | 0 |  | 0
| TOTAL CAULKING: | 0

## 8
PROJECT | 0 | BID DATE: | #REF! |  | PROJECT ESTIMATE: |  | #REF!
| #REF! |  |  |  | SQFT |  | #REF!
| 0 | ESTIMATOR | #REF!
CODE | DESCRIPTION | QUANTITY | UNIT | LABOR |  | MATERIAL |  | EQUIP/SUB
|  |  |  | Unit | Extension | Unit | Extension | Unit | Extension
HOLLOW METAL
| frames 2'-6" x 7' |  | ea | 50 | 0 | 150 | 0 |  | 0
| frames 3' x 7' |  | ea | 50 | 0 | 150 | 0 |  | 0
| frames 3' x 7' - 1 hr. fire rated |  | ea | 50 | 0 | 190 | 0 |  | 0
| frame pair 4' x 7' |  | ea | 60 | 0 | 190 | 0 |  | 0
| frame pair 6' x 7' |  | ea | 75 | 0 | 150 | 0 |  | 0
| Handling and spread |  | ea | 25 | 0 |  | 0 |  | 0
| Stainless Steel Door |  | ea | 50 | 0 | 3420 | 0 |  | 0
| door 3' x 7' |  | ea | 50 | 0 | 425 | 0 |  | 0
| grout HM frames |  | ea |  | 0 |  | 0 |  | By Mason
[5 empty] | 0 |  | 0 |  | 0
| TOTAL HOLLOW METAL: | 0
WOOD DOORS
| Wood Frames |  | ea |  | 0 |  | 0 |  | 0
| 4-2 x 4 BL |  | ea | 65 | 0 | 250 | 0 |  | 0
| 8 x 3-4 BL |  | ea | 75 | 0 | 350 | 0 |  | 0
| Half frame |  | ea | 75 | 0 | 300 | 0 |  | 0
| single frame with sidelight |  | ea | 75 | 0 | 400 | 0 |  | 0
| Single frame |  | ea | 50 | 0 | 250 | 0 |  | 0
| Wood doors |  | ea | 50 | 0 | 500 | 0 |  | 0
| Doors 3' x 7' Solid Core Flush |  | ea | 50 | 0 | 500 | 0 |  | 0
| Handling and spread |  | ea | 25 | 0 |  | 0 |  | 0
|  |  | leaf |  | 0 | 200 | 0 |  | 0
[5 empty] | 0 |  | 0 |  | 0
| TOTAL WOOD DOORS: | 0
PREHUNG WOOD DOORS
|  |  | ea |  | 0 |  | 0 |  | 0
|  |  | ea |  | 0 |  | 0 |  | 0
|  |  | ea |  | 0 |  | 0 |  | 0
|  |  | leaf |  | 0 | 0 | 0 |  | 0
|  |  | leaf |  | 0 |  | 0 |  | 0
|  |  | leaf |  | 0 |  | 0 |  | 0
|  |  | leaf |  | 0 |  | 0 |  | 0
[5 empty] | 0 |  | 0 |  | 0
| TOTAL PREHUNG WOOD DOORS: | 0
BUILDING HARDWARE
| Door Hardware |  | ea | 130 | 0 | 450 | 0 |  | 0
| Handling and breakout per set |  | ea | 25 | 0 |  | 0 |  | 0
| Aluminum Door Hardware |  | ea |  | 0 | 1000 | 0 |  | 0
[5 empty] | 0 |  | 0 |  | 0
| TOTAL BUILDING HARDWARE: | 0
DOOR OPENING SUMMARY
| Total Door Cost: | 0
| Total Door Openings: | 0 | ea
| Total Cost Per Opening: | #DIV/0!

## 8A
PROJECT | 0 | BID DATE: | #REF! |  | PROJECT ESTIMATE: |  | #REF!
| #REF! |  |  |  | SQFT |  | #REF!
| 0 | ESTIMATOR | #REF!
CODE | DESCRIPTION | QUANTITY | UNIT | LABOR |  | MATERIAL |  | EQUIP/SUB
|  |  |  | Unit | Extension | Unit | Extension | Unit | Extension
Alum. GLASS AND GLAZING
| Aluminum entrances (single) |  | ea |  | 0 |  | 0 | 1500 | 0
| Aluminum storefront |  | sf |  | 0 |  | 0 | 45 | 0
| window sill, aluminum |  | lf |  | 0 |  | 0 | 10 | 0
| aluminum windows |  | sf |  | 0 |  | 0 | 40 | 0
| alum windows, ( " X ') |  | ea |  | 0 |  | 0 |  | incl above
| Sidelights and door lights |  | sf |  | 0 |  | 0 | 10 | 0
[5 empty] | 0 |  | 0 |  | 0
| TOTAL GLASS & GLAZING: | 0
AUTOMATIC DOORS
| automatic door operator (single) |  | ea |  | 0 |  | 0 | 2000 | 0
| automatic door operator (pair) |  | ea |  | 0 |  | 0 | 4000 | 0
[5 empty] | 0 |  | 0 |  | 0
| TOTAL AUTOMATIC DOORS: | 0
OVERHEAD DOORS
| Overhead Coiling Door |  | ea |  | 0 |  | 0 | 5375 | 0
[5 empty] | 0 |  | 0 |  | 0
| TOTAL OVERHEAD DOORS: | 0
ACCESS DOORS
| wall access doors 16" x 16" |  | ea | 50 | 0 | 55 | 0 |  | 0
| ceiling access doors 16" x 16" |  | ea | 50 | 0 | 90 | 0 |  | 0
[5 empty] | 0 |  | 0 |  | 0
| TOTAL ACCESS DOORS: | 0

## 9
PROJECT | 0 | BID DATE: | #REF! |  | PROJECT ESTIMATE: |  | #REF!
| #REF! |  |  |  | SQFT |  | #REF!
| 0 | ESTIMATOR | #REF!
CODE | DESCRIPTION | QUANTITY | UNIT | LABOR |  | MATERIAL |  | EQUIP/SUB
|  |  |  | Unit | Extension | Unit | Extension | Unit | Extension
DRYWALL AND STUDS
| 7/8" 20 gage furring channel |  | lf |  | inc below | 1 | 0 |  | 0
| 1-5/8" stud |  | lf |  | inc below | 0.4 | 0 |  | 0
| 1-5/8" track |  | lf |  | inc below | 0.4 | 0 |  | 0
| 2-1/2" 20 gage track |  | lf |  | inc below | 0.5 | 0 |  | 0
| 2-1/2" 20 gage deflection track |  | lf |  | inc below | 0.65 | 0 |  | 0
| 2-1/2" 20 gage stud |  | lf |  | inc below | 0.6 | 0 |  | 0
| 3-5/8" 20 gage track | 1070 | lf |  | inc below | 0.7 | 749 |  | 0
| 3-5/8" 20 gage deflection track | 1070 | lf |  | inc below | 1.1 | 1177 |  | 0
| 3-5/8" 20 gage stud | 8000 | lf |  | inc below | 0.8 | 6400 |  | 0
| 2-1/2" J-Runner (shaft wall) |  | lf |  | inc below | 1 | 0 |  | 0
| 2-1/2" C-H stud (shaft Wall) |  | lf |  | inc below | 1.5 | 0 |  | 0
| 3 5/8 Soffit track |  | lf |  | inc below | 0.65 | 0 |  | 0
| 3 5/8 Soffit studs |  | lf |  | inc below | 0.75 | 0 |  | 0
| 2 1/2 Soffit track |  | lf |  | inc below | 0.5 | 0 |  | 0
| 2 1/2 Soffit studs |  | lf |  | inc below | 0.6 | 0 |  | 0
| drywall grid | 34000 | sf |  | inc below | 0.7 | 23800 |  | 0
| 5/8" drywall | 16000 | sf |  | inc below | 0.5 | 8000 |  | 0
| 5/8" abuse resistant |  | sf |  | inc below | 0.65 | 0 |  | 0
| Soffit drywall | 34000 | sf |  | inc below | 0.5 | 17000 |  | 0
| Ceiling drywall |  | sf |  | inc below | 0.45 | 0 |  | 0
| 5/8" veneer plaster (imperial) |  | sf |  | inc below | 0.5 | 0 |  | 0
| 5/8" moisture resistant green board) |  | sf |  | inc below | 0.49 | 0 |  | 0
| 5/8" tile backer (durock) | 3000 | sf |  | inc below | 1 | 3000 |  | 0
| 1" shaft liner |  | sf |  | inc below | 1 | 0 |  | 0
| tape and spackle | 16000 | sf |  | 0 |  | 0 | 0.6 | 9600
| tape & spackle ceiling/soffit | 34000 | sf |  | 0 |  | 0 | 0.9 | 30600
| Fire tape |  | sf |  | 0 |  | 0 | 0.25 | 0
| acoustical caulk |  | lf | 0.55 | 0 | 0.25 | 0 |  | 0
| repair exist walls |  | ls |  | 0 |  | 0 |  | 0
| miscellaneous | 50000 | sf | 0 | 0 | 0.18 | 9000 |  | 0
| 3-1/2" sound batt insulation | 7000 | sf | 0.5 | 3500 | 0.6 | 4200 |  | incl insul
| 2" sound attentuation insulation |  | sf |  | 0 |  | 0 |  | incl insul
| studwork walls | 10140 | lf | 1.6 | 16224 |  | inc above |  | 0
| drywall walls | 16000 | sf | 1.2 | 19200 |  | inc above |  | 0
| Abuse Resistant drywall | 0 | sf | 1.65 | 0 |  | inc above |  | 0
| Durarock walls | 3000 | sf | 2 | 6000 |  | inc above |  | 0
| C-H Stud & Liner | 0 | sf | 4.5 | 0 |  | inc above |  | 0
| studwork soffits & ceilings | 0 | lf | 3 | 0 |  | inc above |  | 0
| drywall soffits & ceilings | 34000 | sf | 1.75 | 59500 |  | inc above |  | 0
| grid or frame ceiling | 34000 | sf | 0.7 | 23800 |  | inc above |  | 0
[5 empty] | 128224 |  | 73326 |  | 40200
| TOTAL DRYWALL & STUDS: | 241750 | [5 empty] | subcontract | 40200
[8 empty] | equipment | 0
DRYWALL & STUD SUMMARY
| Total Drywall & Stud cost: | 241750
| Total Drywall Quantity SF: | 53000
| Total Cost per SF: | 4.5613
STRUCTURAL STUDS
| 6" Track |  | lf |  | inc. below | 1.62 | 0 |  | 0
| 6" Stud |  | lf |  | inc. below | 1.87 | 0 |  | 0
| 8" Track |  | lf |  | inc. below | 2 | 0 |  | 0
| 8" Stud |  | lf |  | inc. below | 2.26 | 0 |  | 0
| 3 5/8" Tack |  | lf |  | inc. below | 1.18 | 0 |  | 0
| 3 5/8" Stud |  | lf |  | inc. below | 1.42 | 0 |  | 0
| bridging channel |  | lf |  | inc. below | 0.65 | 0 |  | 0
| heavy misc. |  | sf |  | inc. below | 0.2 | 0 |  | 0
| bridging clip |  | ea |  | inc. below | 1 | 0 |  | 0
| slide clips |  | ea |  | inc. below | 3 | 0 |  | 0
| Dens Glass Gold |  | sf |  | inc. below | 0.67 | 0 |  | 0
| 6" R-19 insulation |  | sf | 0.45 | 0 | 0.47 | 0 |  | incl insul
| structural design |  | ls |  | 0 |  | 0 | 1500 | 0
| infiltration barrier |  | sf | 0.15 | 0 | 0.3 | 0 |  | 0
| Misc clips etc | 0 | sf | 4 | 0 |  | 0 |  | 0
| Structural Stud | 0 | lf | 2.5 | 0 |  | inc above |  | 0
| Exterior sheathing | 0 | sf | 1.1 | 0 |  | inc above | 0.1 | 0
[5 empty] | 0 |  | 0 |  | 0
| TOTAL STRUCTURAL STUDS: | 0
Struct Stud & Sheathing Summary:
| Total Struct Studs Cost: | 0
| Total Sheathing SF: | 0
| Cost/SF: | #DIV/0!
| Drywall Summary |  |  |  | 128224 |  | 73326 |  | 40200
ACOUSTICAL CEILINGS
| 15/16" std grid |  | sf | 0.5 | 0 | 0.5 | 0 | 0.1 | 0
| 15/16" alum grid |  | sf | 0.5 | 0 | 0.75 | 0 | 0.1 | 0
| 2 x 4 standard pad |  | sf | 0.5 | 0 | 0.52 | 0 |  | 0
| 2 x 4 reveal edge pad |  | sf | 0.75 | 0 | 0.75 | 0 |  | 0
[5 empty] | 0 |  | 0 |  | 0
| TOTAL ACOUSTICAL CEILINGS: | 0
PLASTER
| Plaster Veneer |  | sf |  | 0 |  | 0 | 3.5 | 0
| Lath & Plaster |  | sf |  | 0 |  | 0 | 9 | 0
| DEFS/EIFS |  | sf |  | 0 |  | 0 | 10 | 0
| patch misc |  | sf |  | 0 |  | 0 | 5 | 0
[5 empty] | 0 |  | 0 |  | 0
| TOTAL PLASTER: | 0

## 9a
PROJECT | 0 | BID DATE: | #REF! |  | PROJECT ESTIMATE: |  | #REF!
| #REF! |  |  |  | SQFT |  | #REF!
| 0 | ESTIMATOR | #REF!
CODE | DESCRIPTION | QUANTITY | UNIT | LABOR |  | MATERIAL |  | EQUIP/SUB
|  |  |  | Unit | Extension | Unit | Extension | Unit | Extension
FLOORING
| Carpet |  | sy |  | 0 |  | 0 | 40 | 0
| Carpet Tile |  | sy |  | 0 |  | 0 | 35 | 0
| Vinyl Tile |  | sf |  | 0 |  | 0 | 2.75 | 0
| Sheet Vinyl |  | sy |  | 0 |  | 0 | 45 | 0
| 4" Rubber Base |  | lf |  | 0 |  | 0 | 1.75 | 0
[5 empty] | 0 |  | 0 |  | 0
| TOTAL FLOORING: | 0
CERAMIC TILE
| porcelain tile |  | sf |  | 0 |  | 0 | 12 | 0
| Base, porcelain tile base |  | lf |  | 0 |  | 0 | 12 | 0
| Wall Tile 4-1/4 x 4-1/4 glazed |  | sf |  | 0 |  | 0 | 11 | 0
[5 empty] | 0 |  | 0 |  | 0
| TOTAL CERAMIC TILE: | 0
WOOD FLOORING
|  |  | sf |  | 0 |  | 0 | 7 | 0
|  |  | sf |  | 0 |  | 0 | 2 | 0
|  |  | sf |  | 0 |  | 0 | 5 | 0
[5 empty] | 0 |  | 0 |  | 0
| TOTAL WOOD FLOORING: | 0
SEALER/EPOXY FLOOR
|  |  | sf |  | 0 |  | 0 | 6.5 | 0
| Sealed Concrete Flooring |  | sf |  | 0 |  | 0 | 2 | 0
| Epoxy Flooring |  | sf |  | 0 |  | 0 | 5 | 0
[5 empty] | 0 |  | 0 |  | 0
| TOTAL Sealer : | 0
PAINTING
| drywall & Plaster |  | sf |  | 0 |  | 0 | 0.45 | 0
| Epoxy Paint for Masonry Walls |  | sf |  | 0 |  | 0 | 1 | 0
| HM frames |  | ea |  | 0 |  | 0 | 50 | 0
| HM doors |  | ea |  | 0 |  | 0 | 60 | 0
| paint stair & rail |  | fl |  | 0 |  | 0 | 800 | 0
| paint wood trim |  | lf |  | 0 |  | 0 | 1.2 | 0
[5 empty] | 0 |  | 0 |  | 0
| TOTAL PAINTING: | 0

## 10
PROJECT | 0 | BID DATE: | #REF! |  | PROJECT ESTIMATE: |  | #REF!
| #REF! |  |  |  | SQFT |  | #REF!
| 0 | ESTIMATOR | #REF!
CODE | DESCRIPTION | QUANTITY | UNIT | LABOR |  | MATERIAL |  | EQUIP/SUB
|  |  |  | Unit | Extension | Unit | Extension | Unit | Extension
TOILET PARTITIONS
| Standard Stall |  | ea |  | 0 |  | 0 | 750 | 0
| ADA Stall |  | ea |  | 0 |  | 0 | 900 | 0
| Urinal Screen |  | ea |  | 0 |  | 0 | 200 | 0
[5 empty] | 0 |  | 0 |  | 0
| TOTAL TOILET PARTITIONS: | 0
TOILET ACCESSORIES
| Paper Towel Disp |  | ea | 25 | 0 | 65 | 0 |  | 0
| Toilet Paper Disp |  | ea | 16 | 0 | 65 | 0 |  | 0
| Soap Disp |  | ea | 16 | 0 | 65 | 0 |  | 0
| 36" Grab Bar |  | ea | 50 | 0 | 65 | 0 |  | 0
| 42" Grab Bar |  | ea | 50 | 0 | 65 | 0 |  | 0
| 16" x 31" Grab Bar |  | ea | 50 | 0 | 65 | 0 |  | 0
| 12" Grab Bar |  | ea | 50 | 0 | 65 | 0 |  | 0
| Sanitary Napkin Disposal |  | ea | 16 | 0 | 65 | 0 |  | 0
| 16" x 24" Mirror |  | ea | 50 | 0 | 65 | 0 |  | 0
| 24" x 60" Mirror |  | ea | 50 | 0 | 65 | 0 |  | 0
| Shower Curtian & Rod |  | ea | 50 | 0 | 65 | 0 |  | 0
| Folding Shower Seat |  | ea | 75 | 0 | 65 | 0 |  | 0
| Towel Pin |  | ea | 12 | 0 | 65 | 0 |  | 0
| Mop/Broom Holder |  | ea | 50 | 0 | 65 | 0 |  | 0
| Diaper Changing Station |  | ea | 75 | 0 | 65 | 0 |  | 0
[5 empty] | 0 |  | 0 |  | 0
| TOTAL TOILET ACCESSORIES: | 0
CHUTE
|  |  | lf | 3 | 0 | 12 | 0 |  | 0
|  |  | lf | 3 | 0 | 12 | 0 |  | 0
[5 empty] | 0 |  | 0 |  | 0
| TOTAL CHUTE: | 0
CUBICLE CURTAINS
| ceiling track & curtain |  | lf | 6 | 0 | 20 | 0 |  | 0
[5 empty] | 0 |  | 0 |  | 0
| TOTAL CUBICLE CURTAINS: | 0
WALL PROTECTION
| Chair Rail |  | lf | 4 | 0 | 15 | 0 |  | 0
| Corner guards |  | ea | 24 | 0 | 75 | 0 |  | 0
| End guards |  | ea | 30 | 0 | 125 | 0 |  | 0
[5 empty] | 0 |  | 0 |  | 0
| TOTAL WALL PROTECTION: | 0
LOUVERS
| 4" wall louver |  | sf | 5 | 0 | 35 | 0 |  | 0
[5 empty] | 0 |  | 0 |  | 0
| TOTAL LOUVERS: | 0
OPERABLE WALL
| 9' high operable partition |  | lf |  | 0 |  | 0 | 440 | 0
[5 empty] | 0 |  | 0 |  | 0
| TOTAL OPERABLE WALL: | 0
LOCKERS
| 12" x 12" x 72" Single Tier |  | ea |  | 0 |  | 0 | 500 | 0
| 18" x 18" x 60" Double Tier |  | ea |  | 0 |  | 0 | 500 | 0
| bench |  | ea |  | 0 |  | 0 | 400 | 0
[5 empty] | 0 |  | 0 |  | 0
| TOTAL LOCKERS: | 0
FLAGPOLE
| 35' ht. exterior halyard |  | ea | 450 | 0 | 2000 | 0 | 250 | 0
[5 empty] | 0 |  | 0 |  | 0
| TOTAL FLAGPOLE: | 0
SIGNAGE
| Cast Plaque Signs |  | ea | 50 | 0 | 500 | 0 | 0 | 0
| Interior Door Signs |  | ea | 24 | 0 | 60 | 0 |  | 0
| Exterior Traffic Signs |  | ea | 50 | 0 | 100 | 0 |  | 0
[5 empty] | 0 |  | 0 |  | 0
| TOTAL SIGNAGE: | 0
FIRE EXTINGUISHERS
| Fire Extinguisher Cabinet |  | ea | 50 | 0 | 145 | 0 | 0 | 0
| Wall Mounted Bracket |  | ea | 50 | 0 | 25 | 0 |  | 0
| Fire Extinguisher |  | ea | 50 | 0 | 70 | 0 | 0 | 0
[5 empty] | 0 |  | 0 |  | 0
| TOTAL FIRE EXTINGUISHERS: | 0
TRANSLUCENT CANOPY SYSTEMS
|  |  | ea |  | 0 |  | 0 |  | 0
| Aluminum canopies |  | sf |  | 0 |  | 0 | 32.56 | 0
|  |  | lf |  | 0 |  | 0 |  | 0
[5 empty] | 0 |  | 0 |  | 0
| TOTAL CANOPIES: | 0
VISUAL DISPLAY BOARDS
| tack boards (' x ') |  | ea | 48 | 0 | 142 | 0 | 0 | 0
| Markerboards (4' x6') |  | ea | 50 | 0 | 186 | 0 | 0 | 0
| Markerboards (4' x 16') |  | ea | 100 | 0 | 480 | 0 | 0 | 0
| display rails (each) |  | lf | 48 | 0 |  | 0 | 0 | 0
[5 empty] | 0 |  | 0 |  | 0
| TOTAL VISUAL DISPLAY BOARDS: | 0

## 11 & 12
PROJECT | 0 | BID DATE: | #REF! |  | PROJECT ESTIMATE: |  | #REF!
| #REF! |  |  |  | SQFT |  | #REF!
| 0 | ESTIMATOR | #REF!
CODE | DESCRIPTION | QUANTITY | UNIT | LABOR |  | MATERIAL |  | EQUIP/SUB
|  |  |  | Unit | Extension | Unit | Extension | Unit | Extension
FOOD SERVICE EQUIPMENT
| 72" Stainless Steel Countertop |  | ea |  | 0 |  | 0 | 419 | 0
| 3 Compartment Sink |  | ea |  | 0 |  | 0 | 1857 | 0
| Bun Roll Warmer |  | ea |  | 0 |  | 0 | 845 | 0
[5 empty] | 0 |  | 0 |  | 0
| TOTAL FOOD SERVICE EQUIPMENT: | 0
PROJECTION SCREENS
| Manual 80" x 45" |  | ea | 50 | 0 | 275 | 0 |  | 0
| Electric Ceiling Mounted Projection Screen |  | ea | 200 | 0 | 1500 | 0 |  | 0
[5 empty] | 0 |  | 0 |  | 0
| TOTAL PROJECTION SCREENS: | 0
GYM EQUIPMENT
| Basketball goals elect adj |  | ea |  | 0 |  | 0 | 3500 | 0
| Basketball goals fixed |  | ea |  | 0 |  | 0 | 2800 | 0
| Volleyball pole/net/stand |  | ea |  | 0 |  | 0 | 2000 | 0
| Volleyball sleves |  | ea |  | 0 |  | 0 | 250 | 0
| Wall pads |  | sf |  | 0 |  | 0 | 25 | 0
| Operable Gym Divider |  | lf |  | 0 |  | 0 | 80 | 0
|  |  | ea |  | 0 |  | 0 |  | 0
[5 empty] | 0 |  | 0 |  | 0
| TOTAL GYM EQUIPMENT: | 0
SCOREBOARD
|  |  | ea |  | 0 |  | 0 |  | 0
[5 empty] | 0 |  | 0 |  | 0
[5 empty] | 0 |  | 0 |  | 0
| TOTAL SCOREBOARD: | 0
KILN
| Kiln w/ vent |  | ea |  | 0 |  | 0 | 3120 | 0
|  |  | ea |  | 0 |  | 0 |  | 0
[5 empty] | 0 |  | 0 |  | 0
| TOTAL KILN: | 0
TELESCOPING STANDS
|  |  | lf |  | 0 |  | 0 |  | 0
[5 empty] | 0 |  | 0 |  | 0
[5 empty] | 0 |  | 0 |  | 0
| TOTAL TELESCOPING STANDS: | 0
MINI BLINDS
|  |  | ea |  | 0 |  | 0 | 125 | 0
[5 empty] | 0 |  | 0 |  | 0
| TOTAL MINI BLINDS: | 0

## 13 & 14
PROJECT | 0 | BID DATE: | #REF! |  | PROJECT ESTIMATE: |  | #REF!
| #REF! |  |  |  | SQFT |  | #REF!
| 0 | ESTIMATOR | #REF!
CODE | DESCRIPTION | QUANTITY | UNIT | LABOR |  | MATERIAL |  | EQUIP/SUB
|  |  |  | Unit | Extension | Unit | Extension | Unit | Extension
GRANDSTAND & PRESSBOX
| Grandstand |  | ea |  | 0 |  | 0 | 250000 | 0
| Pressbox |  | ea |  | 0 |  | 0 | 250000 | 0
[5 empty] | 0 |  | 0 |  | 0
| TOTAL GRANDSTAND & PRESSBOX: | 0
ELEVATOR
| hydraulic elevator |  | stop |  | 0 |  | 0 | 44000 | 0
[5 empty] | 0 |  | 0 |  | 0
| TOTAL ELEVATORS: | 0

## 15-16
PROJECT | 0 | BID DATE: | #REF! |  | PROJECT ESTIMATE: |  | #REF!
| #REF! |  |  |  | SQFT |  | #REF!
| 0 | ESTIMATOR | #REF!
CODE | DESCRIPTION | QUANTITY | UNIT | LABOR |  | MATERIAL |  | EQUIP/SUB
|  |  |  | Unit | Extension | Unit | Extension | Unit | Extension
FIRE PROTECTION
| pit, service & tap |  | ea |  | 0 |  | 0 | 15000 | 0
| wet sprinkler |  | sf |  | 0 |  | 0 | 2.5 | 0
[5 empty] | 0 |  | 0 |  | 0
| TOTAL FIRE PROTECTION: | 0
PLUMBING
| Demo Plumbing |  | fx |  | 0 |  | 0 | 150 | 0
| Building plumbing |  | sf |  | 0 |  | 0 | 19 | 0
| New Fixture Rough to finish |  | fx |  | 0 |  | 0 | 4500 | 0
[5 empty] | 0 |  | 0 |  | 0
| TOTAL PLUMBING: | 0
HVAC
| Demo Building HVAC |  | sf |  | 0 |  | 0 | 3 | 0
| Building HVAC |  | sf |  | 0 |  | 0 | 12 | 0
[5 empty] | 0 |  | 0 |  | 0
| TOTAL HVAC: | 0
ELECTRIC
| demo building electric |  | sf |  | 0 |  | 0 | 2 | 0
| service |  | lf |  | 0 |  | 0 | 75 | 0
| cut & patch asphalt |  | lf |  | 0 |  | 0 | 50 | 0
| Building electric |  | sf |  | 0 |  | 0 | 12 | 0
[5 empty] | 0 |  | 0 |  | 0
| TOTAL ELECTRIC: | 0

## Alternates
PROJECT | 0 | BID DATE: | #REF! |  | PROJECT ESTIMATE: |  | #REF!
| #REF! |  |  |  | SQFT |  | #REF!
| 0 | ESTIMATOR | #REF!
CODE | DESCRIPTION | QUANTITY | UNIT | LABOR |  | MATERIAL |  | EQUIP/SUB
|  |  |  | Unit | Extension | Unit | Extension | Unit | Extension
ALTERNATE - GC-1
General Conditions
| Bond (based on $,000) |  | ls |  | 0 |  | 0 |  | 0
[5 empty] | 0 |  | 0 |  | 0
DEMOLITION
|  |  | ea |  | 0 |  | 0 |  | 0
|  |  | ea |  | 0 |  | 0 |  | 0
[5 empty] | 0 |  | 0 |  | 0
Mass Excavation & Fill
|  |  | cy |  | 0 |  | 0 |  | 0
|  |  | cy |  | 0 |  | 0 |  | 0
[5 empty] | 0 |  | 0 |  | 0
Site Excav & Fill
| excavate footing (14 cy) |  | lf |  | 0 |  | 0 |  | 0
| backfill footing (7 cy) |  | lf |  | 0 |  | 0 |  | 0
| aggregate, bank run (12 cy) |  | tn |  | 0 |  | 0 |  | 0
[5 empty] | 0 |  | 0 |  | 0
Drain Tile
| aggregate #57 (7 cy) |  | tn |  | 0 |  | 0 |  | 0
| grout gravel fill |  | cf |  | 0 |  | 0 |  | 0
| trench drain, 2' |  | lf |  | 0 |  | 0 |  | 0
| 4" perforated drain pipe |  | lf | 4 | 0 | 4 | 0 | 3 | 0
[5 empty] | 0 |  | 0 |  | 0
LANDSCAPING
| seed & straw |  | sy | 1 | 0 | 0.5 | 0 | 1 | 0
[5 empty] | 0 |  | 0 |  | 0
Concrete Work
| form footing |  | lf |  | 0 |  | 0 |  | 0
| concrete footing (3000 PSI) |  | cy |  | 0 |  | 0 |  | 0
| expansion joint, 3/8" |  | lf |  | 0 |  | 0 |  | 0
| form mow band |  | lf |  | 0 |  | 0 |  | 0
| pour mow band (4500 AE) |  | cy |  | 0 |  | 0 |  | 0
[5 empty] | 0 |  | 0 |  | 0
Concrete Reinforcing
| rebar (3) - #5 st rebar (220 lf) |  | tn | 700 | 0 | 1000 | 0 |  | 0
[5 empty] | 0 |  | 0 |  | 0
CONCRETE FINISHING
|  |  | ea |  | 0 |  | 0 |  | 0
|  |  | sf |  | 0 |  | 0 |  | 0
[5 empty] | 0 |  | 0 |  | 0
Masonry
|  | 0 | sf |  | 0 |  | 0 |  | 0
|  | 0 | sf |  | 0 |  | 0 |  | 0
[5 empty] | 0 |  | 0 |  | 0
Metal
|  |  | lf |  | 0 |  | 0 |  | 0
[5 empty] | 0 |  | 0 |  | 0
Signage
| bronze lettering, 7" |  | ea |  | 0 |  | 0 | 25 | 0
| bronze lettering, 9" |  | ea |  | 0 |  | 0 | 35 | 0
| bronze emblem |  | ea |  | 0 |  | 0 | 350 | 0
[5 empty] | 0 |  | 0 |  | 0
Total Alternate GC-1: