All Bid Packages

Exhibit B

Date: 03/18/2025

Job Number: TBD

Job Name: Anderson Hills Church; 7515 Forest Road; Cincinnati, Ohio 45255

Subcontractor:   TBD

Scope of Work: ALL Bid Packages

BID DOCUMENTS:

Anderson Hills Church – Invitation to Bid

- Outline Scope of Work

- Drawing and Spec Sets:

  - Combined dated 03/14/25

  - Specifications – March 2025 -Permit Set

GENERAL SUMMARY

1.	Project is NOT subject to Prevailing Wage Rates.

2.	Project is Tax Exempt.

3.	“Provide” means furnish and install.

All work shall be coordinated and scheduled by the forthcoming attached project schedule (Exhibit C)

Subcontractors are wholly responsible for delivery, unloading, and shake out within the building.

Maintain fences, barricades, guard rails & caution tape. If these items are damaged or removed by your forces (by accident, or for execution of work) they are to be reinstalled by your forces to an acceptable condition.

All deliveries, DUMPSTER PICK UP and staging materials must be coordinated with the Superintendent.

Maintain cleanliness of roadways to the satisfaction of Model Construction, neighborhood, and local authorities for the duration of your work on site.  Subcontractor is responsible for cleaning dirt/debris from road if it is caused by your men, equipment, trucks, etc.  If dirt/debris is tracked on the road and not cleaned by end of the work, Model Construction will clean, and subcontractor will be back charged.  (Model Construction will notify subcontractors and allow reasonable time to clean prior to assuming responsibility of cleaning).

Provide daily clean-up of all construction debris and “personal trash” (lunch wrappers, bottles, etc.) generated by your crew.  Clean up after every workday and take trash to the proper dumpster before going home.  If the job site is not in a neat and orderly condition, then all subcontractors on the job site will be responsible to pay for the cost-plus fee to have a third-party contractor make the job site clean, neat and orderly.

All MODEL CONSTRUCTION jobsites are TOBACCO FREE.  All smoking, dipping, chewing, vaping etc. must be done off site, in area designated by Model Construction Superintendent.  Please inform your crew(s), as this will be enforced.

All work shall be performed by OSHA regulations and standards.  All safety issues are to be corrected and paid for by this subcontractor. Subcontractor to meet EPA standard and requirements for this work.

Provide OSHA 300A at the end of this job documenting the hours logged by workers on the jobsite and any incidents that occurred on the jobsite.

All workers on Model Construction Job Sites should be OSHA ten-hour trained or have basic knowledge of OSHA laws and regulations.

All Job-Specific SDS Sheets for this Work Scope must be submitted to the Model Project Manager PRIOR to the start of work.

Weekly or bi-weekly subcontractor meetings will be held in the job office.  These meetings are MANDATORY!  At least one member from the subcontractor (foreman, project manager, or someone with decision making authority) must be in attendance starting two weeks prior to the scheduled start date, and throughout the duration of your scope of work.

Working hours for this project are established as 7:00 AM to 3:30 PM Monday through Friday.  If subcontractors desire to work outside of these hours, prior approval must be granted by Model Construction superintendent.  Subcontractors shall be expected/permitted to work Saturday or Federal Holidays as necessary to maintain the progress of the construction schedule.

All work to be in compliance with the complete contract documents (this scope, plans and specifications).

Temporary restrooms are provided by Model Construction.

Any work not covered in the base contract must be approved by Model Construction before the subcontractor proceeds with work.  A daily ticket must be signed by Model superintendent for all extra work.  All extra tickets must be included in a Change Order Request and submitted on a weekly basis.  No compensation will be paid to the subcontractor for extra work until it is signed by the subcontractor and Model Construction. Approved Change Order Requests are to be submitted to the Project Manager on Model’s Change Order form within Two Weeks of the change order being approved or work is completed.

Proactive thinking and coordination with Model Construction and other subcontractors is expected and required throughout this project.

Any functioning system turned off or disconnected during the day must be put back in service by the end of the workday.  Workday is to be considered day or evening shift depending on where the work is taking place.

Subcontractors shall visit site and become familiar with existing conditions as they relate to the proposed work prior to submitting bid, ordering materials, etc.  Unless you have proper hazardous materials protection, you cannot enter the site until we declare safe.

Drawings and dimensions are plus/minus.  Subcontractor responsible for verifying existing conditions, dimensions, etc., prior to commencing work.  Report substantial discrepancies to Model Construction immediately, before continuing with work.  Do not scale drawings.

Each contractor is responsible for performing work according to local, state and national codes, as well as other regulations which apply to such work.

Removal or cutting of structural members is not permitted until Consult with Model Construction regarding repair or removal of structural items.

Hard hats, work boots, protective eyewear and gloves are required for all personnel on-site.

Final Payment will be paid after this subcontractor complies with submitting its completed company punch list, submitting completed signed copies of Model Construction punch lists and providing all warranty paperwork to Model Construction.

All Scopes of Work

General:

Items associated with this work are performed by others:

- Temporary toilets provided and cleaned.

- Domestic water: A hose bibb will be provided.

- All Dumpsters will be provided.

- Temporary Fencing will be provided.

- Temporary power & lights:

  - Power will be provided.

  - Any other power will be provided at the subcontractor’s cost

  - Lighting will be OSHA minimum and in the stairwells. Subcontract will provide their own additional lighting and power to perform their work.

PROCORE NOTIFICATION:

- Model Construction will be using Procore as the construction project management software.  This is a free service to an indefinite number of project users.  Procore has many collaborative features that offer various benefits to the project, as well as having benefits to individual users.  For that reason, there are several requirements that will be expected of all contractors on the project.

- All subcontractors will be required to complete the Subcontractor Procore Certification

- All users will be required to have an individual email with notification of arrival of new email messages.

- All subcontractors will be required to utilize the collaborative tools within Procore.  These include and are not necessarily limited to RFIs, Submittals, Document Management, Change Management, Drawings, Specs, Photos, Observations etc.

- A foreman/superintendent for each subcontractor will be required to have an iPad or tablet with a mobile plan for daily use of the Procore mobile app.  The app will require maintenance of updates as frequently as once a week.

All subcontractors will be required to utilize the safety and quality related tools within Procore (i.e. daily inspections, daily JSAs, weekly toolbox talks, jobsite orientations, photos, observations, etc.)

02a Demolition

Subcontractor shall provide a turnkey, all-inclusive building demolition scope of work for this project including but not limited to all labor, material, management, overhead, submittals, coordination, tools, equipment, applicable taxes, etc.  This scope of work shall be in strict conformance with the Bid Documents.

The inclusions of this Scope of Work are generally outlined below:

- Demolish TAGGED Door & Jambs as shown on drawings.

- Demolish the doors and ceilings shown.

- Demo existing flooring and wall base as shown as new on ID0.1.

  - Please include a unit cost for tile / mastic abatement

03a Concrete

The subcontractor shall provide a turnkey, all-inclusive scope of work for this project including but not limited to all labor, material, management, overhead, submittals, coordination, tools, equipment, applicable taxes, etc.  This scope of work shall be in strict conformance with the Bid Documents.

- All work as shown on the structural and architectural drawings.

- The playground surface is by owner.

- Demolition and excavation as required, and patch concrete as required.

- Curbs and sidewalks at site.

05a Structural Steel

The subcontractor shall provide a turnkey, all-inclusive scope of work for this project including but not limited to all labor, material, management, overhead, submittals, coordination, tools, equipment, applicable taxes, etc.  This scope of work shall be in strict conformance with the Bid Documents.

- Shoring and bracing for existing overhang while you demo existing wood columns and install new steel columns.  This shoring shop drawing shall be engineered and stamped.

- Base plates and anchor bolts

- Demo existing wood columns and remove from the site.

- Install new steel columns and grout.

- Remove the shoring after grouting.

- All exterior steel to be galvanized.  Prime steel as indicated.  Clean field welds, grinding marks, etc. after installation and touch up primer such that exposed steel is ready for final painting.

06b Carpentry

The subcontractor shall provide a turnkey, all-inclusive scope of work for this project including but not limited to all labor, material, management, overhead, submittals, coordination, tools, equipment, applicable taxes, etc.  This scope of work shall be in strict conformance with the Bid Documents.

- Include receiving sorting and installing all door frames, doors, hardware and casings.

- Provide Fiberglass Reinforced column covers. No 03/A2.0.

  - Manufacturers to be Royal Corinthian or similar on column wraps.

09a – Ceilings

The subcontractor shall provide a turnkey, all-inclusive scope of work for this project including but not limited to all labor, material, management, overhead, submittals, coordination, tools, equipment, applicable taxes, etc.  This scope of work shall be in strict conformance with the Bid Documents.

- Provide all new acoustic ceiling pads and grid where required.

- Include all fasteners, sealants, trim and miscellaneous appurtenances, and accessories for a complete installation.

09c Painting

The subcontractor shall provide a turnkey, all-inclusive scope of work for this project including but not limited to all labor, material, management, overhead, submittals, coordination, tools, equipment, applicable taxes, etc.  This scope of work shall be in strict conformance with the Bid Documents.

- Clean, prep, and prime all surfaces prior to painting

- Interior painting includes painting on all existing walls, ceilings, wood doors, hollow metal doors, hollow metal frames, steel handrails, door casings, and wood wall caps.  Typical painting of new surfaces.

- Do not include the mosaic designs on the walls, this is by the owner.

- Exterior painting includes lintels, hollow metal doors, hollow metal frames, and bollards.

- Existing paint patching at ceiling of new exterior columns if required.  Finish paint new steel columns prior to install of fiberglass column covers.

- Supplemental lighting is necessary to execute this scope of work.

- Include a full prime coat, a spot prime after drywall/CMU/plaster touch-up, and two full finish coats at all new wall/ceilings. Final finish system shall only be applied when coordinated with Model Construction.  Touch up will also be required for punch list execution.

- Mask surfaces that are not scheduled for painting / finish.  Securely cover sprinkler heads, lights, grilles/diffusers, etc. while painting.  Remove all overspray.

- Prepare corridor ceiling for paint exposed.

23a Plumbing Systems

The subcontractor shall provide a turnkey, all-inclusive scope of work for this project including but not limited to all labor, material, management, overhead, submittals, coordination, tools, equipment, applicable taxes, etc.  This scope of work shall be in strict conformance with the Bid Documents.

- Remove toilets and flush valves for flooring installation

- Reinstall existing toilets

- Install gas service and valves to future fire pits

26a Electrical Systems

The subcontractor shall provide a turnkey, all-inclusive scope of work for this project including but not limited to all labor, material, management, overhead, submittals, coordination, tools, equipment, applicable taxes, etc.  This scope of work shall be in strict conformance with the Bid Documents.

- Provide electrical permits and inspections.

- Provide demolition of existing fixtures as required.

- Install and maintain temporary lighting and power throughout the course of the project.  Temporary lighting shall be installed and maintained to meet or exceed OSHA minimum lighting levels.

- Remove and relocate the exit lights as required.

- Remove and relocate the emergency lights as required.

- Provide power in accordance with the drawings.

- Provide lighting and lighting controls in accordance with the drawings.

- Cap smoke detectors and then remove them at inspections.

- Provide all excavation, conduits, backfill, wire and devices, including light poles for all exterior lighting.

31c Earthwork, Site Demo and Storm Utilities

Subcontractor shall provide a turnkey, all-inclusive building demolition scope of work for this project including but not limited to all labor, material, management, overhead, submittals, coordination, tools, equipment, applicable taxes, etc.  This scope of work shall be in strict conformance with the Bid Documents.

The inclusions of this Scope of Work are generally outlined below:

- Demo existing landscaping, concrete and asphalt to the extent shown at the North, West & Existing Playground as shown on A3.0 and A3.1.

- Enlarged detention pond as shown.

- Regrade site to subgrade.

- Perforated drain under play surface.

- Demo old playground and surface.

- The proposed elevations shown on C6.0 are the play surface elevations.  The subgrade elevations within this playground area are anticipated to be approximately 8” lower than the proposed play surface elevations.

- Note 5 on C5.0 shows a new catch basin (ODOT Type 2-2B) being installed on the existing 10” storm line.  There is a structure label shown on C5.0 near the Note 5 callout that lists the grate and invert elevations for this structure.

- Perforated Drain required at North edge of Playground?  Yes, a 4” perforated drain shall be installed along the north edge of the playground.  Refer to Detail 3 on L1.2 of the landscape progress plans.  There also will be additional 4” underdrains within the playground area.  The exact routing of these lines is still being coordinated with the playground designer.  However, it appears there will be an additional 450 LF ± of 4” underdrain piping within this area.

32a Asphalt Paving

Subcontractor shall provide a turnkey, all-inclusive Asphalt Paving scope of work for this project including but not limited to all labor, material, management, overhead, submittals, coordination, tools, equipment, applicable taxes, etc.  This scope of work shall be in strict conformance with the Bid Documents.

The inclusions of this Scope of Work are generally outlined below:

- Provide asphalt with the drawings.

- Include Gravel Base for asphalt detail

- Provide striping per the plans.

- Provide new parking blocks per plans.

- Patch asphalt at new curb edges, new sidewalk edges and new storm sewer pipe.  Also blend asphalt at new asphalt at old playground.